European Urban Ecology Academy www.eurecaedu.eu

Training Fiche Template

| Title | Water management |
| --- | --- |
| Keywords | EDO, water scarcity, water revitalization, urban islands, irrigation, water retention |
| Provided by | Spolek absolventů a přátel zemědělské školy v Chrudim z.s. |
| Language | English |
| Related SDG | SDG 6 - Ensure availability and sustainable management of water and sanitation for all SDG 11 - Sustainable cities and communities (sustainable and safe human settlements) |
| Objectives | The objectives and goals of this training are: - Explain the water scarcity situation and the need to investigate it. - To show with examples how to save water in households. - To show with examples how to capture rainwater. - Demonstrate with examples how to treat and use wastewater. - Explain the importance of garden ponds and rain beds and their functions. - Explain the importance of hydroponics and aquaponics. - Give examples of irrigation. - Explain the reasons for water retention in the landscape. - Explain water retention in urban areas. - Give examples of water retention around house general public and will be the most educational and practical |
| Learning outcomes | At the end of this module, you will be able to: - understand of the necessity of water conservation and retention, - know saving water and it recycling at household, - know what is a water revitalization, - knows the difference between a domestic sewage treatment plant and a root water treatment plant are, - know the importance of natural features in the garden – small garden lakes, rain bed, - know the meaning and use of aquaponics and hydroponics, - know irrigation systems, - know the use of vertical gardens, - know samples for rainwater harvesting in the garden, - know the concept of water retention and give examples, - know several methods of allowing water to soak in around houses. |

European Urban Ecology Academy www.eurecaedu.eu

| Content index | Module 1: Water Unit 1: Water shortage Section 1: Water shortage in Southern Europe Section 2: Groundwater shortage in Central Europe Section 3: Household water saving, recycling Unit 2: Water revitalization Section 1: Water revitalization in the landscape, native rivers, meanders Section 2:Water revitalization in populated areas, artificial embankments, wastewater treatment plants - biological treatment Section 3: Root water treatment plants, domestic sewage treatment plants Unit 3: Urban islands Section 1: Water features (fountains, artificial lakes) - city Section 2: Ponds and Fire Ponds - Villages Section 3: Home garden lakes, rain bed, aquaponics and hydroponics Unit 4: Irrigation Section 1: Irrigation and plant maintenance in populated areas and around houses Section 2: Irrigation of vertical walls and green roofs Section 3: Vertical gardens Unit 5: Water retention in the landscape Section 1: Wetland creation, polders Section 2: Water retention in urban areas Section 3: Collection and retention of water in the surrounding of family houses |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

| Content development | Module1: Water Unit 1: Water shortage Section 1: Water shortage in Southern Europe Climate change affects all regions of the world. Glaciers in the Arctic and Antarctic are receding, sea levels are rising. In some regions, extreme weather events and precipitation are becoming more frequent, while in others people are dealing with more intense heat waves and periods of extreme drought. Climate action must therefore be taken now, otherwise the impacts of climate change will rise. According to the European Drought Observatory (EDO), about half of Europe's water catchment shows signs of drought. Some southern European countries such as Spain, Bulgaria or Greece have limited per capita consumption of drinking water. This situation is being addressed by desalination of seawater and the construction of desalination plants such as the 'Valencia Desalination Plant' in Spain. At the same time, almost all rivers in Europe have extremely low flows. According to forecast models, the situation will not change significantly and the drought could get worse. Drought not only affects individual people, but also river transport, agriculture, energy production, basic infrastructure such as medical facilities. As the climate warms, precipitation patterns change, evaporation increases, glaciers melt, and sea levels rise. All these factors affect the availability of freshwater. More frequent and severe droughts and rising water temperatures are expected to cause water quality to decline. These conditions encourage the growth of toxic algae and bacteria, which will exacerbate the problem of water scarcity, which is largely caused by human activity. The quality and quantity of fresh water available will also be affected by a greater occurrence of cloudbursts (sudden extreme rains), as storms can cause untreated sewage to enter surface waters. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Section 2: Groundwater shortage in Central Europe In 2017, the Czech Hydro-meteorological Institute, Climate Change Department, reported that Central Europe is relatively well off in terms of water, with annual rainfall remaining the same. The problem is the distribution of rainfall over the year and especially the higher evaporation associated with higher temperatures, which affects low groundwater levels and extremely low flow rates in almost all European rivers. A Euro-barometer survey shows that almost three quarters of Europeans think that the European Union should propose further measures to tackle Europe's water problems. European rivers usually originate in mountainous regions, and 40% of Europe's fresh water comes from the Alps. However, changing snow and glacier dynamics and precipitation regimes may lead to temporary water shortages across Europe. Changes in river flows caused by drought can also affect inland water transport and hydro-power generation. Section 3: Household water conservation, recycling The above shows the need for water conservation and that every citizen should be responsible for saving and consuming water at home. However, the Eurobarometer survey shows that 62% of citizens feel that they are not sufficiently well informed about the environmental consequences of water consumption. Examples of water saving in the household: 1. Changing habits has a very effective impact on water saving. - Turning off the tap while brushing teeth can save up to 9 liters of water per minute - reducing the length of a shower by 2 minutes a day can save up to 19 liters of water per day and 7000 liters of water per year - use the water from washing fruit to water plants - use a water-saving percolator on taps - use the dishwasher and washing machine correctly - use the capacity - use dual flush toilets - do not rinse dishes under running water - boil a reasonable amount of water in a kettle - use 'grey water' - this is water mainly from showers, baths and sinks, which is particularly suitable for flushing toilets. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Recommendation: Do´s 1. Reducing the length of a shower by 2 minutes a day can save up to 9 liter. 2. Use the water from washing fruit to water plants. 3. Use a water-saving percolator on taps. 4. Use the dishwasher and washing machine correctly - use the capacity. 5. Use dual flush in toilets. Don´ts 1. Don´t let the water run while brushing your teeth. 2. Don't rinse the dishes under running water. 3. Don’t waste the water accumulated from rain. 4. Boil a reasonable amount of water in a kettle. 5. Don’t use the toilet as a wastebasket and don't flush it unnecessarily. Unit 2: Water revitalisation Section 1: Water revitalisation in the landscape, native rivers, meanders In the context of revitalization, pools, meanders, streams are being returned to the landscape. A revitalized Landscape retains water and increases biodiversity. Revitalisation projects are based on knowledge of river morphology and the relevant river pattern (hydromorphological type) and aim to design watercourse shapes and dimensions corresponding to this type, e.g. "Revitalisation of the Bukovka watercourse in Živinice". Section 2: Water revitalisation in populated areas, artificial embankments, wastewater treatment plants - biological treatment Dams, gullies, canals, etc. are typical of water conditions in post-communist countries. These are man-made works, the oldest dating back to the 14th century, and have fed water into ponds, irrigated meadows and also made it possible to float timber or run water mills. Today, wastewater treatment plants are used to treat municipal, agricultural, and industrial water. The treatment process uses activated sludge, i.e. biological treatment. Section 3: Root water treatment plants, domestic sewage treatment plants Any citizen who is not able to connect to a sewerage system can use domestic sewage treatment plants. The efficiency of treatment is 97%. The treated water can be discharged into watercourses, used for watering gardens or as domestic water. Root water treatment plants Schemes of root treatment plants: horizontal flow through water tanks, horizontal flow under the surface, vertical flow through the treatment plant. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Root water treatment plant https://cs.wikipedia.org/wiki/Ko%C5%99enov%C3%A1_%C4%8Dist%C3%ADrna_o dpadn%C3%ADch_vod Most often wetland plants are planted, which grow quickly and produce large amounts of biomass. Another criterion is their ability to make maximum use of available nutrients. Plants are very important for providing sufficient oxygen for aerobic removal of organic matter in the roots. Root cleaning plant https://www.korenova-cisticka.cz/fotogalerie/korenova-cisticka-jirice-2021-2022 The most commonly planted species are: Typha latifolia, Typha angustifolia, Phalaris arundinacea, Schoenoplectus lacustris, Juncus effusus. Advantages of root cleaning: - minimal maintenance Unlike mechanical-biological treatment plants, which require frequent supervision, the root treatment plant needs far less care. - low operating costs Root treatment plants have five to ten times lower operating costs compared to mechanical-biological treatment plants. - long service life With good maintenance, the filling of the purifier will last 30-40 years |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Wetand roofs and facades The wetland roof is a unique system connecting a green roof with a root treatment plant. The roof can thus be used for cleaning the wastewater produced in the house. Another alternative that can clean the water on your house is a wetland facade. It can be designed either separately or together with a wetland roof. The advantage of combining a green roof and a facade with a purifier is the creation of a green roof with a low weight, which does not place too high demands on the statics and load-bearing capacity of the roof. Another advantage is the solution to the frequent problem of green roofs, which lies in a lack or, on the contrary, a large amount of moisture. This problem is most often solved with green roofs by increasing the substrate layer, which, however, places higher demands on the statics of the roof. A waste water recycling system with the help of a roof root treatment plant is also beneficial, which will contribute to reducing drinking water consumption by up to half. In addition, the green surface of the roof or facade will bring moisture and a favorable climate to the locality, which the owners and the surrounding area will appreciate especially in the hot summer months. https://www.korenova-cisticka.cz/mokradni-strechy-a-zahony/mokradni-fasady Domestic sewage treatment plants It is suitable for cleaning wastewater from bathrooms, social facilities, automatic washing machines, kitchens, etc. It replaces outdated septic tanks, both in terms of efficiency and cost, and is in line with the requirements of modern living. The domestic wastewater treatment plant is very powerful and easy to operate. The technical layout of the wastewater treatment plant better handles uneven and intermittent inflows. The cleaning plant is equipped with a float trap. Domestic sewage treatment plants can be placed in the ground as embedded or semi-embedded, they can also be installed above ground level. Domestic sewage water treatment plants https://www.usbf.cz/cov-aquatec-at/domovni-cov-aquatec-at Advantages of a domestic wastewater treatment plant - easy operation - minimum operating costs depending on the selected mode (weekend operation, holiday, etc.) - quality workmanship, long live use By using root treatment plants and wastewater treatment plants, you will not only increase biodiversity, but also save money on water consumption and ensure a more efficient and economical use of wastewater. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Recommendation By using root treatment plants and wastewater treatment plants, you will not only increase biodiversity, but also save money on water consumption and ensure a more efficient and economical use of wastewater. Do´s 1. By using root and waste treatment plants, a long-term and low-cost operating systems can be created. 2. Take care of your septic tank. Check it every year and let it drain in 3 to 5 years. 3. The green area of ​​the roof and facade brings humidity and a favorable climate to the location. Don´ts 1. Inappropriate modifications of water ecosystems - for example, changes of water level, straightening of streams, acceleration of runoff, disposal of riparian vegetation. 2. Do not use water to clean sidewalks and driveways - sweep them instead. 3. After cooking, do not pour the water out of the pot - pour it into a large container and reuse it to water your plants. Unit 3: Urban islands Section 1: Water features (fountains, artificial lakes) - city Temperature is higher in the built environment. The micro climate is improved by plenty of greenery and water features such as fountains, drinking fountains and misters. They increase humidity, purify the air and reduce extreme temperatures. They are also an aesthetic feature of public spaces and, in the case of drinking fountains, offer a simple source of drinking. Water features are increasingly popular, often increasing biodiversity and enlivening urban spaces. Section 2: Historic Ponds and Fire Ponds - villages In the landscape, a pond is perceived as a landscape element, individual or forming groups of independent ponds or ponds connected to each other by watercourses into a so-called pond system. Functions of ponds - Flood protection and water retention - the nature of the ponds, their number and area allows for the capture of a huge amount of water in flood situations. - Water supply in the landscape has an influence on the micro climate - they retain and accumulate flowing surface water and thus create a water supply in the landscape, serving all living organisms. Thanks to this ability, ecosystems with rich flora and fauna are created around the ponds. 3. Purification of surface water - Accumulated water in the pond and its surroundings represents a stable environment in which a specific chain of biochemical processes occurs. At the same time, storage and decomposition processes, transformation of nutrients and substances take place here, food chains and mutual relations in the hierarchy of organisms living here are established. A special case is the so-called biological or stabilization ponds, which are built only for the purpose of purifying surface water. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Fire reservoirs were built in places of high accumulation of houses and water was used to extinguish fires in the inner city, but also outside it, e.g. when fighting forest fires. Section 3: Home small lakes, rain bed, aquaponics and hydroponics Home-made natural small lakes are becoming increasingly popular, often replacing "blue pools". They increase the biodiversity of the environment, improve the microclimate and often provide a pleasant swimming experience. The main reason people get a garden pond is that it brings life into the garden. With a body of water, various small animals will soon move into your garden, which in turn will attract larger animals. https://ceskykutil.cz/clanek-392912-pripravte-jezirko-zimni-spanek Rain bed A rain bed is a natural or man-made depression in the landscape where excess water from roofs, pavements and paved areas runs off during rainfall. It is planted with plants that don't mind heavy watering and have the ability to gradually absorb this water. The soil in the bed should be very permeable so that the excess standing water is absorbed as soon as possible. The rainwater will be cleansed by the plant roots and the soil and will thus reach the groundwater without contamination. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | https://www.jaksinavrhnoutzahradu.cz/destovy-zahon/ Aquaponics, hydroponics Aquaponics is the deliberate breeding of fish and the subsequent use of this water to grow plants. Hydroponics is the growing of plants in an aqueous solution. The use of water for food production is maximized. The production of plants and fish is several times higher than under normal conditions. The principle is to combine aquaculture, i.e. fish farming, and hydroponic cultivation, i.e. growing plants in a nutrient solution. In aquaponics we also make beneficial use of micro-organisms that help with the transformation of substances and thus enable the two systems to be linked. This symbiosis is beneficial for the coexistence of all these organisms. With aquaponics we can keep both food and ornamental fish. The same applies to growing plants, we can grow plants for consumption such as lettuce, tomatoes, cucumbers, herbs or ornamental flowers. From a global point of view, the most common combination is the cultivation of Nile tilapia in combination with the cultivation of salads or herbs. The advantage of aquaponics is 95% water saving. Compared to conventional agriculture, aquaponics has minimal water requirements. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | https://ivilla-cs.decorexpro.com/akvaponika-svoimi-rukami/#google_vignette Recommendation: Do´s 1. The establishment of garden ponds and rain beds increases the biodiversity of the environment, improves the micro climate and prevents water runoff. 2. With the help of aquaponics and hydroponics, we can have a productive garden even in city apartments and on balconies. 3. Tanks, lakes, ponds increase air humidity, clean the air and reduce extreme temperatures in urban areas. Don´ts 1. Elimination of small water areas (wetlands and waterlogged habitats) as a result of land reclamation. 2. A large amount of water in the landscape (garden) can oversaturate the sorption capacity of the soil and cause it to become more permanently wet. 3. Do not use containers that were previously used to store chemicals to collect rainwater. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Unit 4: Irrigation Section 1: Irrigation and plant maintenance in populated areas and around houses When irrigating public areas and parks, an automatic irrigation system is most often used to irrigate lawn areas, shrub plantings and trees. Irrigation is now a common feature in city or castle parks. In any revitalization or renovation of public spaces, an automatic irrigation system is quite commonly designed as part of the whole, where the public green space becomes unsustainable without this item (sufficient irrigation). The most common method is drip irrigation, which brings water directly to the individual plants and delivers the required amount of water to the plant, tree or shrub by slow dripping. It is commonly part of automatic irrigation systems in house gardens, where it complements a system of pull-out sprinklers. The overhead drip line is placed on the surface, usually under mulch bark. https://zavlahy.irimon.cz/clanek_zavlaha_vysadeb_zahonu_zivych_plotu Another method of irrigation is through underground drip pipes. This method of irrigation is very efficient, the water goes directly into the root zone of the turf and there is no evaporation of water during irrigation. The underground drip line is also suitable for irrigating narrow strips of lawn. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | https://zavlahy.irimon.cz/clanek_zavlaha_vysadeb_zahonu_zivych_plotu The most common method of automatic irrigation of lawn areas of gardens of family houses is sprinkler irrigation using extendable sprinklers. Spray and rotary sprayers are mainly used in gardens. Another option is irrigation bags for maintaining urban greenery, planting around traffic roads or in orchards. With a capacity of 55 and 75 liters, they can water even a very thirsty tree and give it exactly the moisture it prefers. Slow and steady. Because the tree watering bags release water doses between 6 and 10 hours. Watering is thus regular and controlled. They are particularly suitable for trees in dry locations, for example in the shelter of a larger tree, and for all newly planted trees as well as trees growing on a slope. https://www.obalove-materialy.cz/o-nas/clanky/zavlazovaci-vaky-jsou-nejlepsi-zp usob-zalevani-stromku?srsltid=AfmBOor9mcVP8bOBwSFRC-65HdM1dUGZoqk6id hSTpQ082fjIlDK0x31 |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | https://www.mestocheb.cz/nove-vysazene-stromy-maji-i-nove-zavlahove-vaky/d- 974892 Section 2: Irrigation of vertical walls and green roofs Green walls have become an increasingly popular addition in recent public years, corporate and private spaces. A wall made of real, living plants have an unquestionable aesthetic effect in addition to positive effects. It makes staying in its vicinity very pleasant, purifies the air, and improves the microclimate in the room. It consists of basic irrigation water that flows safely in the defined space. http://www.meandr.cz/sortiment/hydrobricks-samozavlazovaci-vertikalni-zahrady Section 3: Vertical gardens Another way to make your home more pleasant with herbs, annuals or fruit is to use Hydrofalls. They can be kept as individual self-watering planters in the kitchen, for example, and can be stacked individually in a space or hung on top of each other on the wall to create a vertical garden. In this case, you won't need a water source or an electrical outlet, just a simple watering can. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | http://www.meandr.cz/sortiment/rozsirovaci-samozavlazovaci-system-hydrofalls Self-watering pots are suitable for the home or for the terrace, balcony or garden. You can grow plants of any kind in self-watering pots in several different ways. The most recommended are: - growing in good quality soil - growing in mineral substrate - growing in coconut substrate http://www.meandr.cz/sortiment/samozavlazovaci-kvetinace Green roofs usually require a minimum of water and nutrients due to the well-thought-out composition of the vegetation. Plants with low demands on soil and water (e.g. succulent plants) are used, which require a minimum of care = extensive green roof. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | foto: Michaela Vachunová An intensive green roof has a richer plant composition that requires a higher substrate layer than extensive green roofs. The height of this layer can vary between 30 and 100 centimeters to create enough space for larger roots. A higher height of the substrate means a higher retention capacity (the system can retain water very effectively) and thus creates a sufficient reservoir for the plants. Especially in a state saturated with water, it is then necessary to take into account a much greater weight, which burdens the roof structure much more than in the case of extensive green roofs. Recommendation: Do´s 1. Every citizen can save water by using self-watering flower pots in city apartments. 2. In the case of family houses, everyone can use a vertical wall as an aesthetic addition to their garden. 3. Irrigation bags provide enough water to the trees slowly and steadily. Don´ts 1. Do not water lawns during hot, partly cloudy days - you will reduce water loss through evaporation. 2. Do not allow rainwater to run off your property unnecessarily. 3. Do not use potable water for irrigation, only utility and rainwater. Unit 5: Water retention in the landscape Section 1: Wetland creation, polders Wetlands are considered a transitional environment, which is attributed to the fact that at certain times of the year it is an aquatic system and at other times completely terrestrial, for this reason it is classified as a mixed ecosystem. It is considered to be an ecosystem rich in biodiversity of plant and animal species, which makes it one of the areas with the greatest environmental concern. https://www.postposmo.com/cs/mok%C5%99ady/#google_vignette |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Wetlands are considered the most important ecosystems within the entire environmental system, it should be noted that nature allows a perfect balance between its various elements that allow the development of the organisms that make it up and thus guarantee the development of life. This ecosystem is considered to be one of the largest reserves of biodiversity of fauna such as birds, fishes and many others. Most of these species consider it an ideal environment for their continuous development thanks to the constant influence of water. Polders, grassy depressions with dikes, serve when a flash flood comes. The water is collected here and then gradually drains away. People can use it, for example, for watering. It is created by damming a watercourse, but behind the dam, under normal conditions, water either does not accumulate at all (dry reservoir or dry polder) or the volume of the reservoir is only partially filled (semi-dry reservoir or semi-dry polder). The accumulation of water occurs during floods, which transforms the flood wave, which then causes less or no damage. Polders are water works that prevent flooding. They can be dry or semi-dry. A dry polder or also a dry protection tank or a dry retention tank is a water structure used for flood protection. The name dry polder is appropriate because there is no water there most of the time. Together with wetlands, they allow water to be retained in the landscape while increasing biodiversity. Section 2: Water retention in urban areas Throughout history, there has always been an effort to divert water away from cities and towns. Modern constructions for retaining rainwater are currently encouraged. The occurrence of floods caused by extreme rainfall has become frequent in Lisbon, mainly around rivers, thanks to the increasing occupation of land and climate change. This problem is solved, for example, by the "Lisbon General Drainage Plan (LDMP)". |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Green roofs During the rainy season, especially in densely built-up parts of the urbanized landscape, the sewage network is overloaded due to rapid runoff from roofs and paved surfaces. This problem is solved by a vegetated roof, which, with its retention properties, reduces the pressure on the sewage system. Part of the water captured in the formation naturally evaporates back into the atmosphere, whereby the green roof helps to maintain the natural water cycle where it has been disturbed by human activity. Green roofs contain a drainage system that captures and drains excess water. The correct function of this system is a basic prerequisite for the reliability and long life of the roof. foto: Michaela Vachunová Soakaways (swales) are an engineering feature used to retain rainwater from roads. Mainly from roads and pavements. In essence, they are small artificial wetlands that prevent water from running off quickly and facilitate the permeability of water to plant roots. We differentiate among so-called horizontal, sloping and sloping swales. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | https://cs.wikipedia.org/wiki/Pr%C5%AFleh Swejl creates "stairs" that allow rainwater to soak into the soil (soaking slope) or that allow a harmless and slow drainage of captured water from the plot (drainage slope). In addition to retaining water in the landscape, the overflow prevents torrential floods and contributes to a smaller burden on sewage in cities. If it is grassed or covered with other vegetation, it can increase local biodiversity. Green carpets The city have a number of advantages. In addition to the aesthetic element, they improve the microclimate, reduce heat load and dust, provide a permeable layer for rainwater absorption and absorb noise from tram traffic compared to asphalt surfaces. At the same time, they create a refuge for insects and invertebrates. https://prazsky.denik.cz/zpravy_region/brevnov-tramvaj-travnik-trat-vedci-vyzkum-pra ha.html |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | https://www.casopisinspirace.cz/zivot-mezi-kolejemi/ Flowery meadows Cities and municipalities are currently dealing with problems related to climate change, lack of water in the soil, or its excess in the case of torrential rains. One of the measures that will ensure the slowing down of the water, its absorption and the protection of houses at the same time, is the sowing of flowery meadows. Flowery meadows replace low-cut lawns, thereby increasing the biodiversity of the given location, lowering the temperature and retaining more water in the landscape. https://www.adapterraawards.cz/cs/Kvetnate-louky-v-Praze-4 |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Permeable paving The growing share of built-up areas leads to disruption of the natural hydrological cycle. Rainwater goes into the sewers and further outside the territory, which leads to a change in the local microclimate. The development of permeable surfaces is one of a set of measures of the so-called blue-green architecture, which help to reduce surface runoff through impermeable surfaces. Up to two thirds of impervious surfaces are sidewalks and areas related to traffic roads. Water-permeable concrete paving elements can be used as a water-permeable reinforced surface of roads wherever the goal is to use rainwater economically and also to slow down the flow of rainwater into the sewage system and partial retention in urban agglomerations, in parks, on large parking areas, sidewalks, cycle paths , outdoor paved areas in family and apartment buildings, but also industrial areas. https://www.casopisstavebnictvi.cz/clanky-vodopropustne-dlazebni-prvky-jejich-vlastn osti-a-udrzba.html#&gid=1&pid=2 Section 3: Collection and retention of water in the vicinity of family houses Collecting rainwater is an economical method that saves drinking water resources and provides plants with high-quality, chlorine-free watering. There is now a wide choice of underground and above ground water tanks. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | https://www.geomall.cz/sud-na-destovou-vodu-aquacan#gallery-2 https://www.chatar-chalupar.cz/hospodareni-s-vodou-2/ Collecting rainwater is is an efficient and sustainable practice that brings many benefits. First and foremost, it helps to conserve and preserve the freshwater resource, which can help reduce water costs as well as reduce the burden on the on-site water resource. Rainwater provides essential nutrients and does not contain chlorine or fluoride often found in treated water, which can lead to improved plant health and vigor. Therefore, if you use it to water your garden, it can improve soil health by preventing the build-up of substances that could damage plant roots and soil structure. It will also improve plant growth and health because rainwater is soft and slightly acidic, making it an ideal choice for most plants. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Mulches You can also keep rainwater in your garden in other ways, or prevent it from drying out. You can apply mulch in your garden to retain moisture. Mulch will keep humidity and soil temperature and also prevents weed growth. Mulches are divided into organic and inorganic. Each group has completely different properties that determine where and how they can be used. Examples of organic mulches include bark, wood chips, finely cut grass, straw, etc. Inorganic mulches are stone mulches: for example, grit, gravel or pebbles. A) Inorganic mulches Stones and pebbles drain perfectly and do not wash down the slope in the event of rain as organic mulches do. They are therefore ideal for mulching slopes, rockeries, around ponds, around paths or for creating pathways. They can also be used to build up rubble. However, when mulching with inorganic materials, it is also necessary to adapt the plant composition so that the selected plants can tolerate temperature fluctuations well and are not killed by overheating, especially in summer. The great advantage of inorganic mulch is its long-lasting durability. If you have walkways or driveways in your garden, you may want to consider using permeable pavers. These will reduce water runoff and encourage water absorption. https://cz.hecht.cz/blog/zahrada/vse-co-byste-meli-vedet-o-mulcovani |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | B) Organic mulches Organic mulches can serve several functions. In particular, bark performs an excellent ornamental function. Furthermore, organic mulches prevent weed growth, retain moisture in the soil and act as a thermal insulation. As it is an organic material that gradually thaws, organic mulches also fertilise the soil. https://cz.hecht.cz/blog/zahrada/vse-co-byste-meli-vedet-o-mulcovani When does the soil dry out most often? - mowing and clean excavated surfaces - the grain of the material on the surface of the surfaces. The coarse-grained structure with air cavities does not allow water to evaporate so easily. Conversely, the finer the grain of the surface, e.g. mud or clay, the more the capillary action of water is applied. The surface then dries quickly and cracks. In addition, granularity is closely related to soil aeration. The above mentioned mulching is widely used against unwanted drying out in the natural garden as: - shades the soil, - aerates it, - prevents water evaporation, - and at the same time decomposes the substrate and manure - it also slows down weed growth to some extent. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Water retention in urban and natural vegetation Plants are a very important component, interfering with the cycle of water between the soil and the atmosphere. Vegetation takes water from the soil and thereby dries it out, but at the same time it moistens its surroundings with its own vapor. The amount of water that plants evaporate into the air is determined by many factors. Evaporation is mainly influenced by: - the amount of water in the soil (the wetter the location, the greater the evaporation can be), - the air temperature (the higher the temperature, the higher the evaporation), - the intensity of the air flow (with a strong flow, the evaporation is higher), the variety of plants, their age and other factors. Urban air is always drier than the air in the surrounding countryside due to compact high-rise buildings and paved surfaces. Soil evaporation of water changes, rainfall is diverted to the sewers. Plants affect the water cycle in nature by slowing it down. They enable better absorption of water into the soil and soil evaporation.In natural stands that successfully survive the dry season, there are always species of plants with ground rosettes of leaves, such as Plantago, Trifolium, Leucanthemum, Hypochaeris, Taraxacum or Bellis. These species shade the space around the plant and thus reduce water evaporation. In a natural garden, with minimal maintenance required, areas with these plants will stay green longer than intensive lawns. In the dry season, the area remains green even after mowing thanks to the ground leaves of the plants. If the mowed lawn contains only grass species, it will dry out very quickly without watering. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | The fact that lawns are not mowed and vegetables are not watered in the sweltering heat contributes precisely to the low maintenance of natural gardens. This also applies to periods of prolonged rain. An uncut meadow looks unsightly, but the above-ground parts of the plants absorb a large amount of rainwater. If it was cut low, surface washing of soil and nutrients would occur. In the natural garden, therefore, we mow and weed until the rains stop. Permeable paving It is designed to allow rainwater to infiltrate into the soil and aquifer, or to be trapped underground and then released at a controlled rate to surface water. Its properties make it particularly suitable for urban developments, car parks and wherever accessible areas with conventional minimum gaps are desired. It is also well suited for areas around houses. https://rainman-toolbox.eu/upcp_product/infiltrating-pavements-permeable-surf aces-unsealing-4/ |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Gravel lawns are the new trend of today. It is a walk-on or mobile lawn based on a layer of a mixture of gravel and soil, where the vegetation itself consists of a mixture of selected grasses and herbs. It can act as a driveway or parking area in the city or in the countryside.Gravel turf is becoming popular due to its ecological, economic and, last but not least, aesthetic advantages. It improves the microclimate, increases the water capacity and permeability of the site. The rich species diversity of the grass mix creates a habitat for animals. It is a relatively simple structure and this brings lower acquisition costs. Last but not least, gravel lawns contribute to the expansion of 'green spaces' in the very inner city of our cities. Gravel turf has excellent features and benefits (when done well): - water does not stand on it as on a larger concrete area, - makes less noise when driving over it than on a paved or concrete surface - and allows for more green space, - it is cheaper and more accessible, - easier to construct and - you don't need to build any additional drainage or sewerage. https://www.jaksinavrhnoutzahradu.cz/sterkovy-travnik/ Gabions During the establishment of gabion walls, foundation strips of gravel are built under the gabion structures, which support water retention in the urban environment. There they form groundwater "reservoirs" for the surrounding trees - after heavy rainfall, they provide time for the soil horizon to absorb rainwater more perfectly. Together with the adjacent threshing roads, they form infiltration collectors from which trees and bushes draw water that would otherwise be transferred to the city sewer via surface drainage. suitable example of use is “Protective gabion wall in Teplého street, city of Pardubice – Dukla”. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

|  | Recommendation: Do´s 1. Every citizen who owns a piece of land can choose a method of retaining and collecting water according to their financial capabilities. 2. Mulching has an effective impact on water conservation and is also an aesthetic element in the garden. 3. Permeable paving is a good solution for urban development, as it allows rainwater to soak into the soil. 4. The use of gabions will support water retention in the urban environment. Don´ts 1. Do not layer the mulch too deeply. Deep a layer prevents the access of necessary oxygen to the soil and causes suffocation of the roots. 2. Do not use impervious materials such as concrete to reinforce commercial surfaces. 3. Do not mow the lawns on hot summer days, soil and nutrients would be washed away from the surface. SUMMING UP: Water shortage According to the World Economic Forum, a water shortage is one of the five global risks and already affects a quarter of the world's population. Water also exists in rivers and lakes, ice, water vapor as well as in fauna and flora and of course in us. Only 2.5 % of the total amount of water is fresh water but this does not mean that all the fresh water available and it can be used to make drinking water. Water revitalization alternatives By using the root treatment plants and the wastewater treatment plants, you will not only increase biodiversity, but also save money on the water consumption and ensure a more efficient and the economical use of the wastewater. Natural homemade garden Creating our own natural homemade garden with the garden ponds and the rain beds will help improve the biodiversity of the environment, the microclimate and prevent the water runoff. Saving water Every citizen can save water by using self-watering flower pots in the city apartments. Everyone who owns a piece of land can choose a method of retaining and collecting water according to their financial capabilities. Therefore, it is essential that we are informed, educated and learnt to retain water in the landscape and learn to manage water, save, clean and recycle it. |
| --- | --- |

European Urban Ecology Academy www.eurecaedu.eu

European Urban Ecology Academy www.eurecaedu.eu

| Glossary (max 5 terms) | EDO The European Drought Observatory (EDO) is a service run by the EC’s Joint Research Centre. The EDO pages contain drought-relevant information such as maps of indicators derived from different data sources (e.g., precipitation measurements, satellite measurements, modelled soil moisture content). https://www.eea.europa.eu/policy-documents/european-drought-observatory-edo Water revitalization The purpose of the revitalization of water streams and their surroun-dings is the restoration of the natural development of stream beds, differentiation of a flow line in the stream bed, the diversification of banks and the stream bed, the increase of the migration permeability, and others. https://www.voda2020.cz/files/_start/SEKCE_A.pdf Root wastewater treatment plant Root wastewater treatment plant is a device, which use bacteria living in the root system of plants and on stones (so. gravel) cleans polluted water from the home and at the final stage, water can be used for watering in the garden. https://cottage.cz/en/root-wastewater-treatment-plant/ Polder Empoldering is a method of reclaiming land from the sea or from inland lakes, and a way to control floods. Empoldering involves the use of a polder, a piece of land in a low-lying area that has been reclaimed from a body of water by building dikes and drainage canals. https://simple.wikipedia.org/wiki/Polder Swale A swale, (from the English word swale = wet depression, wetland). Many swales are natural land formations, but others are made on purpose to direct rainwater, manage runoff, and conserve the soil. These deliberate swales help spread rainwater across a wide section of land, rather than allowing it to flow quickly in one direction. https://www.vocabulary.com/dictionary/swale |
| --- | --- |
| Related Good practice | Valencia Desalination Plant: Nurturing Urban Ecology Through Sustainable Water Solutions https://www.eurecaedu.eu/best_practice.php?id_bp=3 Regeneration of Bukovka River’s water flow in Živanice https://www.eurecaedu.eu/best_practice.php?id_bp=1 Water Factories and Lisbon Drainage Master Plan (LDMP) https://www.eurecaedu.eu/best_practice.php?id_bp=11 Protective gabion wall in Teplého street, city of Pardubice – Dukla https://www.eurecaedu.eu/best_practice.php?id_bp=12 |

European Urban Ecology Academy www.eurecaedu.eu

| Self-evaluation (multiple choice queries and answers) | 1. What is the acronym of the European Drought Observatory? - EDO - ESO - ECO |
| --- | --- |
|  | 2. Can every citizen start saving water at household? |
|  | - Yes, by changing habits and reducing domestic water consumption. - Currently, it is only possible to save water to a limited extent. - It is necessary to reduce the consumption of drinking water and utility water. |
|  | 3. What methods of biological wastewater treatment do you know? |
|  | - Domestic sewage treatment and root treatment plants. - Use of water filters - Use of biological treatment agents. |
|  | 4. What is the most common method of effective irrigation? |
|  | - Drip piping, underground drip pipes, irrigation bags. - Mobile cistern irrigation - Surface sprinkler irrigation |
|  | 5. Why is it effective to collect rainwater in the garden? |
|  | - Cost reduction, provides essential nutrients and does not contain chlorine or fluoride, rainwater is soft and slightly acidic. - It does not cause waterlogging of the garden - It can be used as drinking water |

European Urban Ecology Academy www.eurecaedu.eu

| Resources (videos, reference link) | https://climate.ec.europa.eu/climate-change/consequences-climate-change _cs#p%C5%99%C3%ADrodn%C3%AD-d%C5%AFsledky https://www.hydrotech-group.com/cz/blog/preco-by-sme-mali-co-najskor-z acat-setrit-vodou https://cs.wikipedia.org/wiki/Ko%C5%99enov%C3%A1_%C4%8Dist%C3%AD rna_odpadn%C3%ADch_vod https://www.korenova-cisticka.cz/korenove-cistirny/korenova-cistirna-pro-domacn osti https://www.jaksinavrhnoutzahradu.cz/destovy-zahon/ https://www.rehabilitace.info/zdravotni/co-je-to-akvaponie-aquaponie-a-jake-ma- vyhody/ https://zavlahy.irimon.cz/clanek_zavlaha_vysadeb_zahonu_zivych_plotu https://www.obalove-materialy.cz/o-nas/clanky/zavlazovaci-vaky-jsou-nejlepsi-zpu sob-zalevani-stromku?srsltid=AfmBOor9mcVP8bOBwSFRC- 65HdM1dUGZoqk6idhSTpQ082fjIlDK0x31 http://www.meandr.cz/sortiment/hydrobricks-samozavlazovaci-vertikalni-zahrady https://www.postposmo.com/cs/mok%C5%99ady/#google_vignette https://cs.wikipedia.org/wiki/Pr%C5%AFleh https://mujaltan.cz/magazin/jak-zadrzet-destovou-vodu-v-zahrade/ https://www.geomall.cz/sud-na-destovou-vodu-aquacan#gallery-2 https://www.casopisstavebnictvi.cz/clanky-vodopropustne-dlazebni-prvky-jejich-vl astnosti-a-udrzba.html https://cz.hecht.cz/blog/zahrada/vse-co-byste-meli-vedet-o-mulcovani https://www.chatar-chalupar.cz/hospodareni-s-vodou-2/ https://www.sluzbyminks.cz/sluzba/sterkove-travniky https://www.jaksinavrhnoutzahradu.cz/sterkovy-travnik/ https://www.chatar-chalupar.cz/hospodareni-s-vodou-2/ https://izahradkar.cz/zahrada/ochrana-rostlin/vyziva-rostlin/jak-na-efektivni-a-prir ozene-uchovavani-vody-v-zahrade/ https://www.izolinka.cz/bezudrzbova-zelena-strecha/ https://www.uur.cz/media/ln0ezyii/05_zelen.pdf |
| --- | --- |